CardioSentinel

Precision, Recall, F1 and Confusion Matrices of the Four Clients and the Federated Gate

PTB-XL v1.0.3 · test fold 10 (2,158 ECGs) · mean of seeds 42, 43 and 44

Source: outputs/fourclient/seed{42,43,44}/test_results.json. The test fold was evaluated once; nothing was tuned on it.

# 1. Number of samples

PTB-XL comes split into 10 patient-level folds, so no patient appears in more than one split. Each client trains only on its own two folds. All models share the same validation fold (9) and the same test fold (10), so the comparison is fair.

| Model | Training | Validation (fold 9) | Testing (fold 10) |
| --- | --- | --- | --- |
| Client A: 1D CNN | 4,277 (folds 1–2) | 2,146 | 2,158 |
| Client B: 1D ResNet | 4,280 (folds 3–4) | 2,146 | 2,158 |
| Client C: BiLSTM | 4,264 (folds 5–6) | 2,146 | 2,158 |
| Client D: CNN-LSTM | 4,263 (folds 7–8) | 2,146 | 2,158 |
| Federated gate (overall) | 17,084 (folds 1–8, via the 4 clients) | 2,146 | 2,158 |

Validation (fold 9) is used for early stopping, temperature calibration, per-class thresholds, the gate weights and the triage bands. Testing (fold 10) is used once, for the final results.

## 1.1 Cases of each class per client

| Split | Folds | ECGs | Patients | NORM | MI | STTC | CD | HYP | Total labels |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Client A: 1D CNN | 1–2 | 4,277 | 3,676 | 1,907 | 1,087 | 1,050 | 966 | 527 | 5,537 |
| Client B: 1D ResNet | 3–4 | 4,280 | 3,722 | 1,918 | 1,079 | 1,042 | 981 | 525 | 5,545 |
| Client C: BiLSTM | 5–6 | 4,264 | 3,725 | 1,869 | 1,125 | 1,060 | 990 | 535 | 5,579 |
| Client D: CNN-LSTM | 7–8 | 4,263 | 3,700 | 1,902 | 1,088 | 1,034 | 970 | 532 | 5,526 |
| All training | 1–8 | 17,084 | 14,823 | 7,596 | 4,379 | 4,186 | 3,907 | 2,119 | 22,187 |
| Validation | 9 | 2,146 | 1,917 | 955 | 540 | 528 | 495 | 268 | 2,786 |
| Test | 10 | 2,158 | 1,877 | 963 | 550 | 521 | 496 | 262 | 2,792 |

The four client rows add up exactly to the All training row, because each ECG belongs to exactly one client. One ECG can have several diagnoses (for example MI and CD) and is then counted once under each, so the label totals are higher than the ECG counts.

## 1.2 Share of ECGs with each class

| Split | NORM | MI | STTC | CD | HYP | ECGs with 2+ labels |
| --- | --- | --- | --- | --- | --- | --- |
| Client A: 1D CNN | 44.6% | 25.4% | 24.5% | 22.6% | 12.3% | 1,016 (23.8%) |
| Client B: 1D ResNet | 44.8% | 25.2% | 24.3% | 22.9% | 12.3% | 1,053 (24.6%) |
| Client C: BiLSTM | 43.8% | 26.4% | 24.9% | 23.2% | 12.5% | 1,056 (24.8%) |
| Client D: CNN-LSTM | 44.6% | 25.5% | 24.3% | 22.8% | 12.5% | 1,002 (23.5%) |
| All training | 44.5% | 25.6% | 24.5% | 22.9% | 12.4% | 4,127 (24.2%) |
| Validation | 44.5% | 25.2% | 24.6% | 23.1% | 12.5% | 509 (23.7%) |
| Test | 44.6% | 25.5% | 24.1% | 23.0% | 12.1% | 508 (23.5%) |

## 1.3 ECGs with only one label

| Split | NORM only | MI only | STTC only | CD only | HYP only | Total single-label |
| --- | --- | --- | --- | --- | --- | --- |
| Client A: 1D CNN | 1,823 | 515 | 475 | 344 | 104 | 3,261 |
| Client B: 1D ResNet | 1,826 | 498 | 471 | 330 | 102 | 3,227 |
| Client C: BiLSTM | 1,783 | 509 | 479 | 331 | 106 | 3,208 |
| Client D: CNN-LSTM | 1,811 | 521 | 478 | 348 | 103 | 3,261 |
| All training | 7,243 | 2,043 | 1,903 | 1,353 | 415 | 12,957 |
| Validation | 914 | 233 | 255 | 171 | 64 | 1,637 |
| Test | 912 | 256 | 242 | 184 | 56 | 1,650 |

## 1.4 What the class split shows

- The clients are balanced: every client has almost the same class mix (NORM about 44%, MI about 25%, STTC about 24%, CD about 23%, HYP about 12%), because PTB-XL's folds are stratified. The clients differ only in architecture, which is also why a per-patient (dynamic) gate had little to learn.

- HYP is rare everywhere: each client sees only about 530 HYP cases, and only about 104 where HYP is the sole diagnosis. This is a main reason HYP has the lowest scores.

- Validation and test have the same mix as training, so the results are not skewed by an unusual test set.

# 2. How the confusion matrix is built

For every test ECG and every class:

- The model outputs a probability, for example P(MI) = 0.71.

- If it is at or above that class's threshold (tuned on fold 9 to maximise F1), the prediction is yes; otherwise no.

- The prediction is compared with the true PTB-XL label and counted as TP, FN, FP or TN.

|  | Predicted YES | Predicted NO |
| --- | --- | --- |
| Actually YES | TP: correct hit | FN: missed case |
| Actually NO | FP: false alarm | TN: correct clear |

Each class has its own 2×2 matrix over the 2,158 test ECGs. Adding the five matrices gives one overall matrix of 2,158 × 5 = 10,790 decisions.

## Formulas

Precision   = TP / (TP + FP)

Recall      = TP / (TP + FN)

F1          = 2 × Precision × Recall / (Precision + Recall)

Accuracy    = (TP + TN) / (TP + FN + FP + TN)

Specificity = TN / (TN + FP)

Macro average: compute the metric for each class, then average the 5 values. Every class counts equally, so the weak HYP class pulls it down. The paper and slides use this.

Micro average: compute the metric once from the summed matrix. Every decision counts equally.

Counts are means over the three seeds, rounded to whole numbers. Within each class, TP + FN equals that class's test positives and TP + FN + FP + TN = 2,158.

# 3. Results per client, per class

## 3.1 Client A: 1D CNN

| Class | TP | FN | FP | TN | Precision | Recall | F1 | Accuracy | AUROC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NORM | 891 | 72 | 280 | 915 | 0.762 | 0.926 | 0.835 | 0.837 | 0.926 |
| MI | 405 | 145 | 214 | 1,394 | 0.657 | 0.736 | 0.693 | 0.833 | 0.891 |
| STTC | 391 | 130 | 151 | 1,486 | 0.723 | 0.751 | 0.736 | 0.870 | 0.925 |
| CD | 349 | 147 | 138 | 1,524 | 0.721 | 0.703 | 0.710 | 0.868 | 0.900 |
| HYP | 135 | 127 | 236 | 1,660 | 0.369 | 0.514 | 0.425 | 0.832 | 0.798 |
| All 5 (sum) | 2,171 | 621 | 1,019 | 6,979 | 0.681 | 0.778 | 0.726 | 0.848 | – |
| Macro avg |  |  |  |  | 0.646 | 0.726 | 0.680 | 0.848 | 0.888 |

## 3.2 Client B: 1D ResNet

| Class | TP | FN | FP | TN | Precision | Recall | F1 | Accuracy | AUROC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NORM | 879 | 84 | 259 | 936 | 0.772 | 0.912 | 0.837 | 0.841 | 0.922 |
| MI | 385 | 165 | 207 | 1,401 | 0.653 | 0.699 | 0.674 | 0.827 | 0.877 |
| STTC | 420 | 101 | 195 | 1,442 | 0.683 | 0.806 | 0.739 | 0.863 | 0.918 |
| CD | 338 | 158 | 151 | 1,511 | 0.694 | 0.681 | 0.686 | 0.857 | 0.884 |
| HYP | 150 | 112 | 298 | 1,598 | 0.345 | 0.571 | 0.423 | 0.810 | 0.808 |
| All 5 (sum) | 2,171 | 621 | 1,110 | 6,888 | 0.662 | 0.777 | 0.715 | 0.840 | – |
| Macro avg |  |  |  |  | 0.630 | 0.734 | 0.672 | 0.840 | 0.882 |

## 3.3 Client C: BiLSTM

| Class | TP | FN | FP | TN | Precision | Recall | F1 | Accuracy | AUROC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NORM | 872 | 91 | 235 | 960 | 0.788 | 0.905 | 0.842 | 0.849 | 0.931 |
| MI | 412 | 138 | 211 | 1,397 | 0.666 | 0.748 | 0.702 | 0.838 | 0.901 |
| STTC | 413 | 108 | 180 | 1,457 | 0.698 | 0.793 | 0.741 | 0.866 | 0.926 |
| CD | 339 | 157 | 107 | 1,555 | 0.762 | 0.683 | 0.720 | 0.878 | 0.902 |
| HYP | 141 | 121 | 217 | 1,679 | 0.395 | 0.537 | 0.454 | 0.843 | 0.809 |
| All 5 (sum) | 2,176 | 616 | 950 | 7,048 | 0.696 | 0.779 | 0.735 | 0.855 | – |
| Macro avg |  |  |  |  | 0.662 | 0.733 | 0.692 | 0.855 | 0.894 |

## 3.4 Client D: CNN-LSTM

| Class | TP | FN | FP | TN | Precision | Recall | F1 | Accuracy | AUROC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NORM | 894 | 69 | 238 | 957 | 0.790 | 0.928 | 0.853 | 0.858 | 0.933 |
| MI | 405 | 145 | 178 | 1,430 | 0.697 | 0.736 | 0.715 | 0.850 | 0.906 |
| STTC | 394 | 127 | 170 | 1,467 | 0.701 | 0.757 | 0.727 | 0.863 | 0.923 |
| CD | 333 | 163 | 100 | 1,562 | 0.771 | 0.671 | 0.716 | 0.878 | 0.909 |
| HYP | 136 | 126 | 223 | 1,673 | 0.389 | 0.519 | 0.438 | 0.838 | 0.808 |
| All 5 (sum) | 2,162 | 630 | 910 | 7,088 | 0.704 | 0.774 | 0.737 | 0.857 | – |
| Macro avg |  |  |  |  | 0.670 | 0.722 | 0.690 | 0.857 | 0.896 |

# 4. Federated gate (equal weights): the final model

The gate averages the four clients' calibrated probabilities with equal weights: P = (P_A + P_B + P_C + P_D) / 4. Equal weights were selected over static and dynamic weights by patient-grouped cross-validation on fold 9, in all three seeds.

| Class | TP | FN | FP | TN | Precision | Recall | F1 | Accuracy | AUROC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NORM | 896 | 67 | 250 | 945 | 0.782 | 0.930 | 0.850 | 0.853 | 0.938 |
| MI | 402 | 148 | 156 | 1,452 | 0.724 | 0.730 | 0.725 | 0.859 | 0.912 |
| STTC | 413 | 108 | 142 | 1,495 | 0.745 | 0.792 | 0.768 | 0.884 | 0.933 |
| CD | 338 | 158 | 86 | 1,576 | 0.800 | 0.682 | 0.735 | 0.887 | 0.914 |
| HYP | 128 | 134 | 166 | 1,730 | 0.439 | 0.490 | 0.461 | 0.861 | 0.828 |
| All 5 (sum) | 2,177 | 615 | 800 | 7,198 | 0.731 | 0.780 | 0.755 | 0.869 | – |
| Macro avg |  |  |  |  | 0.698 | 0.725 | 0.707 | 0.869 | 0.905 |

# 5. Overall comparison

## 5.1 Macro averages

| Model | AUROC | Precision | Recall | F1 | Specificity | Label-wise acc. | Exact match |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A: 1D CNN | 0.888 | 0.646 | 0.726 | 0.680 | 0.867 | 0.848 | 0.509 |
| B: 1D ResNet | 0.882 | 0.630 | 0.734 | 0.672 | 0.857 | 0.840 | 0.506 |
| C: BiLSTM | 0.894 | 0.662 | 0.733 | 0.692 | 0.877 | 0.855 | 0.542 |
| D: CNN-LSTM | 0.896 | 0.670 | 0.722 | 0.690 | 0.882 | 0.857 | 0.547 |
| Static weights | 0.903 | 0.685 | 0.728 | 0.703 | 0.887 | 0.866 | 0.570 |
| Dynamic gate | 0.901 | 0.681 | 0.729 | 0.702 | 0.888 | 0.864 | 0.568 |
| Equal gate (final) | 0.905 | 0.698 | 0.725 | 0.707 | 0.894 | 0.869 | 0.581 |

Exact match: share of ECGs with all 5 decisions correct. Gate AUROC 95% bootstrap CI: 0.897–0.913.

## 5.2 Micro averages (overall confusion matrix of each model)

| Model | TP | FN | FP | TN | Precision | Recall | F1 | Accuracy |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A: 1D CNN | 2,171 | 621 | 1,019 | 6,979 | 0.681 | 0.778 | 0.726 | 0.848 |
| B: 1D ResNet | 2,171 | 621 | 1,110 | 6,888 | 0.662 | 0.777 | 0.715 | 0.840 |
| C: BiLSTM | 2,176 | 616 | 950 | 7,048 | 0.696 | 0.779 | 0.735 | 0.855 |
| D: CNN-LSTM | 2,162 | 630 | 910 | 7,088 | 0.704 | 0.774 | 0.737 | 0.857 |
| Static weights | 2,190 | 602 | 847 | 7,151 | 0.721 | 0.785 | 0.752 | 0.866 |
| Dynamic gate | 2,177 | 615 | 853 | 7,145 | 0.718 | 0.780 | 0.748 | 0.864 |
| Equal gate (final) | 2,177 | 615 | 800 | 7,198 | 0.731 | 0.780 | 0.755 | 0.869 |

## 5.3 Overall confusion matrix of the federated gate

| All 5 classes (10,790 decisions) | Predicted YES | Predicted NO |
| --- | --- | --- |
| Actually YES (2,792) | TP = 2,177 | FN = 615 |
| Actually NO (7,998) | FP = 800 | TN = 7,198 |

Precision 0.731 · Recall 0.780 · F1 0.755 · Accuracy 0.869 · Specificity 0.900

# 6. What the numbers show

- The gate raises the fewest false alarms: 800 against 910–1,110 for the clients.

- It finds more true cases and misses fewer than any client: TP 2,177, FN 615. Recall is almost the same for every model (0.774–0.785 micro).

- The gain is mainly in precision: 0.731 micro and 0.698 macro, against at most 0.704 and 0.670 for any client.

- Macro recall is the one metric a client wins: Client B reaches 0.734 against the gate's 0.725, because B flags more cases and raises 310 more false alarms.

- Class difficulty is the same for every model: NORM is the easiest (recall about 0.93), HYP the hardest (F1 about 0.46). Hypertrophy is diagnosed from voltage height, which per-ECG normalisation partly removes.